## Sheet1
Endeavour Energy register of completed embedded generation projects
N.B. None have been connected in the last 5 years
Register established 1 October 2014
Date of Connection | Registered Participant | Generator Name | Generator Technology | Generator Make | Generator Model | Max Generation Capacity | Fault Level Contribution | Transformer Size & Rating | Protection systems and comms | Voltage control and reactive power capability | SLD of connection agreement (Available/ Not Available)

## Sheet3
Participant | Station Name | Region | Dispatch Type | Category | Classification | Fuel Source - Primary | Fuel Source - Descriptor | Technology Type - Primary | Technology Type - Descriptor | Physical Unit No. | Unit Size (MW) | Aggregation | DUID | Reg Cap (MW) | Max Cap (MW) | Max ROC/Min
AGL Hydro Partnership | West Nowra Landfill Gas Power Generation Facility | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas | Combustion | Compression Reciprocating Engine | 1 | 1 | N | AGLNOW1 | 1 | 1
AGL Hydro Partnership | Burrendong Hydro Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 19 | N | BDONGHYD | 19 | 19
AGL Hydro Partnership | Copeton Hydro Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 24 | N | COPTNHYD | 24 | 24
AGL Hydro Partnership | Glenbawn Hydro Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 5.8 | N | GLBWNHYD | 5.8 | 5
AGL Hydro Partnership | Pindari Hydro Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 6.7 | N | PINDARI | 6.7 | 6
AGL Hydro Partnership | Woy Woy Landfill Site | NSW1 | Generator | Market | Non-Scheduled | Landfill / Biogas | Landfill / Biogas | Combustion | Compression Reciprocating Engine | 1 | 1.064 | N | WOYWOY1 | 1.064 | 1
AGL Hydro Partnership | Wyangala A Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 20 | N | WYANGALA | 20 | 20
AGL Hydro Partnership | Wyangala B Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 4 | N | WYANGALB | 4 | 4
AGL Sales (Queensland Electricity) Pty Limited | Grange Avenue Power Station | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas | Combustion | Compression Reciprocating Engine | 1 | 2 | N | GRANGEAV | 2 | 2
Cape Byron Management Pty Ltd | Broadwater Power Station Units 1 and 2 | NSW1 | Generator | Market | Non-Scheduled | Biomass | Bagasse | Combustion | Steam - sub critical | 2 | 8 | N | - | - | -
Cape Byron Management Pty Ltd | Broadwater Power Station Units 1 and 2 | NSW1 | Generator | Market | Non-Scheduled | Biomass | Bagasse | Combustion | Steam - sub critical | 1 | 30 | N | BWTR1 | 38 | 38
Cape Byron Management Pty Ltd | Condong Power Station Unit 1 | NSW1 | Generator | Market | Non-Scheduled | Biomass | Bagasse | Combustion | Steam - sub critical | 1 | 30 | N | CONDONG1 | 30 | 30
Delta Electricity | Colongra Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Open Cycle Gas turbines (OCGT) | 1 | 181 | N | CG1 | 181 | 181 | 34
Delta Electricity | Colongra Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Open Cycle Gas turbines (OCGT) | 2 | 181 | N | CG2 | 181 | 181 | 34
Delta Electricity | Colongra Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Open Cycle Gas turbines (OCGT) | 3 | 181 | N | CG3 | 181 | 181 | 34
Delta Electricity | Colongra Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Open Cycle Gas turbines (OCGT) | 4 | 181 | N | CG4 | 181 | 181 | 34
Delta Electricity | Vales Point "B" Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 5 | 660 | N | VP5 | 660 | 680 | 25
Delta Electricity | Vales Point "B" Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 6 | 660 | N | VP6 | 660 | 680 | 25
EDL Group Operations Pty Ltd | Appin Power Plant | NSW1 | Generator | Non-Market | Non-Scheduled | Fossil | Coal Seam Methane | Combustion | Spark Ignition Reciprocating Engine | 1-54 | 1.03 | N | - | 55.6 | 55
EDL Group Operations Pty Ltd | Tower Power Plant | NSW1 | Generator | Non-Market | Non-Scheduled | Fossil | Coal Seam Methane | Combustion | Spark Ignition Reciprocating Engine | 1-40 | 1.03 | N | - | 41.2 | 41
EDL LFG (NSW) Pty Ltd | Eastern Creek Power Station | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas | Combustion | Compression Reciprocating Engine | 1-4 | 1.35 | N | EASTCRK | 5.4 | 5
EDL LFG (NSW) Pty Ltd | Grange Avenue Landfill Gas Power Station | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas | Combustion | Spark Ignition Reciprocating Engine | 1 | 1.26 | N | GRANGEAV | 1.26 | 1.26
EDL LFG (NSW) Pty Ltd | Jacks Gully Landfill Gas Power Station | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas | Combustion | Spark Ignition Reciprocating Engine | 2 | 1.15 | N | JACKSGUL | 2.3 | 2.3
EDL LFG (NSW) Pty Ltd | Lucas Heights 2 LFG Power Station | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas | Combustion | Compression Reciprocating Engine | 1-11 | 1.15 | N | LUCAS2S2 | 13 | 13
EDL LFG (NSW) Pty Ltd | Lucas Heights 2 LFG Power Station | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas | Combustion | Compression Reciprocating Engine | 12-15 | 4.6 | N | LUCASHGT | 5 | 5
EnergyAustralia Pty Ltd | Mt Piper Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 1 | 700 | N | MP1 | 700 | 700 | 25
EnergyAustralia Pty Ltd | Mt Piper Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 2 | 700 | N | MP2 | 700 | 700 | 25
EnergyAustralia Pty Ltd | Tallawarra Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Combined Cycle Gas Turbine (CCGT) | 1 | 460 | N | TALWA1 | 460 | 460 | 92
EnergyAustralia Pty Ltd | Woodlawn Bioreactor Energy Generation Station | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas | Combustion | Compression Reciprocating Engine | 1-6 | 1.065 | N | WDLNGN01 | 7 | 7
EnergyAustralia Pty Ltd | Wallerawang "C" Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 8 | 500 | N | WW8 | 500 | 500 | 10
EnerNOC Pty Ltd | Bankstown Sports Club Plant Units | NSW1 | Generator | Market | Non-Scheduled | Fuel Oil | Diesel | Combustion | Compression Reciprocating Engine | 1 | 0.8 | N | BANKSPT1 | 2 | 2
EnerNOC Pty Ltd | Bankstown Sports Club Plant Units | NSW1 | Generator | Market | Non-Scheduled | Fuel Oil | Diesel | Combustion | Compression Reciprocating Engine | 2 | 1.34 | N | BANKSPT1 | - | -
EnerNOC Pty Ltd | Nine Network Willoughby Plant | NSW1 | Generator | Market | Non-Scheduled | Fuel Oil | Diesel | Combustion | Compression Reciprocating Engine | 1-3 | 1.06 | N | NINEWIL1 | 3.2 | 2
EnerNOC Pty Ltd | St George Leagues Club Plant | NSW1 | Generator | Market | Non-Scheduled | Fuel Oil | Diesel | Combustion | Compression Reciprocating Engine | 1 | 1.48 | N | STGEORG1 | 1 | 1
EnerNOC Pty Ltd | Western Suburbs League Club (Campbelltown) Plant | NSW1 | Generator | Market | Non-Scheduled | Fuel Oil | Diesel | Combustion | Compression Reciprocating Engine | 1 | 1 | N | WESTCBT1 | 1 | 1
EnerNOC Pty Ltd | West Illawarra Leagues Club Plant | NSW1 | Generator | Market | Non-Scheduled | Fuel Oil | Diesel | Combustion | Compression Reciprocating Engine | 1 | 0.715 | N | WESTILL1 | 1 | 1
EnerNOC Pty Ltd | West Illawarra Leagues Club Plant | NSW1 | Generator | Market | Non-Scheduled | Fuel Oil | Diesel | Combustion | Compression Reciprocating Engine | 2 | 0.275 | N | WESTILL1 | - | -
Envirogen (Oaky) Pty Limited | Glennies Creek Power Station | NSW1 | Generator | Non-Market | Non-Scheduled | Fossil | Coal Seam Methane | Combustion | Compression Reciprocating Engine | 1-12 | 1.08 | N | - | 13 | 13
EnviroGen Pty Limited | Teralba Power Station | NSW1 | Generator | Market | Non-Scheduled | Fossil | Coal Seam Methane | Combustion | Compression Reciprocating Engine | 1-3 | 1 | N | TERALBA | 3 | 3
Essential Energy | Broken Hill Gas Turbines | NSW1 | Generator | Market | Non-Scheduled | Fossil | Diesel | Combustion | Open Cycle Gas turbines (OCGT) | 1-2 | 25 | N | GB01 | 50 | 50
Green State Power Pty Ltd | Brown Mountain | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 0.5 | Y | BROWNMT | 4.95 | 6
Green State Power Pty Ltd | Brown Mountain | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 2-3 | 0.75 | Y | BROWNMT | - | -
Green State Power Pty Ltd | Brown Mountain | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 4-5 | 1 | Y | BROWNMT | - | -
Green State Power Pty Ltd | Brown Mountain | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 6 | 4.2 | Y | BROWNMT | - | -
GSP Energy Pty Ltd | Burrinjuck Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 3-4 | 5.7 | N | BURRIN | 27 | 28
GSP Energy Pty Ltd | Burrinjuck Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 5 | 15.4 | N | BURRIN | - | -
GSP Energy Pty Ltd | Hume Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1-2 | 29 | N | HUMENSW | 29 | 70 | 10
GSP Energy Pty Ltd | Keepit Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 6 | N | KEEPIT | 6 | 8
Gunning Wind Energy Developments Pty Ltd | Gunning Wind Farm | NSW1 | Generator | Market | Semi-Scheduled | Wind | Wind | Wind | Wind - Onshore | 1-31 | 2.1 | N | GUNNING1 | 47 | 47 | 47
Infigen Energy Holdings Pty Ltd | Capital East Solar Farm | NSW1 | Generator | Market | Non-Scheduled | Solar | Solar PV | Renewable | PV - Panels | 1-2 | 0.013 | N | CESF1 | 1 | 1
Infigen Energy Holdings Pty Ltd | Capital East Solar Farm | NSW1 | Generator | Market | Non-Scheduled | Solar | Solar PV | Renewable | PV - Panels | 3 | 0.011 | N | CESF1 | - | -
Infigen Energy Holdings Pty Ltd | Capital East Solar Farm | NSW1 | Generator | Market | Non-Scheduled | Solar | Solar PV | Renewable | PV - Panels | 4 | 0.168 | N | CESF1 | - | -
Infigen Energy Markets Pty Limited | Capital Wind Farm | NSW1 | Generator | Market | Non-Scheduled | Wind | Wind | Renewable | Wind - Onshore | 1-67 | 2 | N | CAPTL_WF | 140 | 140
Infratil Energy Australia Pty Ltd | Awaba Power Station | NSW1 | Generator | Market | Non-Scheduled | Renewable/ Biomass / Waste | Landfill Methane / Landfill Gas |  |  | 1 | 1.123 | N | AWABAREF | 1.123 | 1
Infratil Energy Australia Pty Ltd | Hunter Economic Zone | NSW1 | Generator | Market | Non-Scheduled | Fossil | Diesel |  |  | 1-16 | 1.8 | N | HEZ | 29 | 29
LMS Energy Pty Ltd | Eastern Creek 2 Gas Utilisation Facility | NSW1 | Generator | Non-Market | Non-Scheduled |  |  |  |  | 1-8 | 1.123 | N | - | 8.984 | 10
Macquarie Generation | Bayswater Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 1 | 660 | N | BW01 | 660 | 700 | 140
Macquarie Generation | Bayswater Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 2 | 660 | N | BW02 | 660 | 700 | 140
Macquarie Generation | Bayswater Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 3 | 660 | N | BW03 | 660 | 700 | 140
Macquarie Generation | Bayswater Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 4 | 660 | N | BW04 | 660 | 700 | 140
Macquarie Generation | Hunter Valley Gas Turbine | NSW1 | Generator | Market | Scheduled | Fossil | Kerosene | Combustion | Open Cycle Gas turbines (OCGT) | 1-2 | 25 | Y | HVGTS | 50 | 50 | 10
Macquarie Generation | Liddell Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 1 | 500 | N | LD01 | 500 | 550 | 110
Macquarie Generation | Liddell Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 2 | 500 | N | LD02 | 500 | 550 | 110
Macquarie Generation | Liddell Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 3 | 500 | N | LD03 | 500 | 550 | 110
Macquarie Generation | Liddell Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 4 | 500 | N | LD04 | 500 | 550 | 110
Marubeni Australia Power Services Pty Ltd | Smithfield Energy Facility | NSW1 | Generator | Non-Market | Scheduled | Fossil | Natural Gas | Combustion | Combined Cycle Gas Turbine (CCGT) | 1-3 | 38 | Y | SITHE01 | 160 | 175 | 35
Marubeni Australia Power Services Pty Ltd | Smithfield Energy Facility | NSW1 | Generator | Non-Market | Scheduled | Fossil | Natural Gas | Combustion | Combined Cycle Gas Turbine (CCGT) | 4 | 62 | Y | SITHE01 | - | -
Narrabri Power Limited | Wilga Park Power Station | NSW1 | Generator | Non-Market | Non-Scheduled | Fossil | Coal Seam Methane | Combustion | Compression Reciprocating Engine | 1-4 | 1 | N | - | 4 | 4
Narrabri Power Limited | Wilga Park Power Station | NSW1 | Generator | Non-Market | Non-Scheduled | Fossil | Coal Seam Methane | Combustion | Compression Reciprocating Engine | 5-6 | 3 | N | - | 6 | 6
New Gullen Range Wind Farm Pty Ltd | Gullen Range Wind Farm | NSW1 | Generator | Market | Semi-Scheduled | Wind | Wind | Renewable | Wind - Onshore | 18-73 | 2.5 | Y | - | - | - | -
New Gullen Range Wind Farm Pty Ltd | Gullen Range Wind Farm | NSW1 | Generator | Market | Semi-Scheduled | Wind | Wind | Renewable | Wind - Onshore | 1-17. | 1.5 | Y | GULLRWF1 | 166 | 172 | 34
Origin Energy Electricity Limited | Cullerin Range Wind Farm | NSW1 | Generator | Market | Non-Scheduled | Wind | Wind | Renewable | Wind - Onshore | 1-15 | 2 | N | CULLRGWF | 30 | 30
Origin Energy Electricity Limited | Eraring Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 1 | 720 | N | ER01 | 720 | 750 | 20
Origin Energy Electricity Limited | Eraring Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 2 | 720 | N | ER02 | 720 | 750 | 20
Origin Energy Electricity Limited | Eraring Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 3 | 720 | N | ER03 | 720 | 750 | 20
Origin Energy Electricity Limited | Eraring Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Black Coal | Combustion | Steam Sub-Critical | 4 | 720 | N | ER04 | 720 | 750 | 20
Origin Energy Electricity Limited | Eraring Power Station | NSW1 | Generator | Market | Non-Scheduled | Fossil | Diesel | Combustion | Compression Reciprocating Engine | 1 | 41.5 | N | ERGT01 | 41.5 | 56
Origin Energy Electricity Limited | Bendeela / Kangaroo Valley Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | B 1-2 | 40 | Y | SHGEN | 240 | 240 | 25
Origin Energy Electricity Limited | Bendeela / Kangaroo Valley Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | KV 3-4 | 80 | Y | SHGEN |  | -
Origin Energy Electricity Limited | Bendeela / Kangaroo Valley Pumps | NSW1 | Load Norm Off | Market | Scheduled |  |  |  |  | B 1-2 | 40 | Y | SHPUMP | 240 | 240 | 10
Origin Energy Electricity Limited | Bendeela / Kangaroo Valley Pumps | NSW1 | Load Norm Off | Market | Scheduled |  |  |  |  | KV 3-4 | 80 | Y | SHPUMP |  | -
Origin Energy Uranquinty Power Pty Ltd | Uranquinty Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Open Cycle Gas turbines (OCGT) | 1 | 166 | N | URANQ11 | 166 | 166 | 34
Origin Energy Uranquinty Power Pty Ltd | Uranquinty Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Open Cycle Gas turbines (OCGT) | 2 | 166 | N | URANQ12 | 166 | 166 | 34
Origin Energy Uranquinty Power Pty Ltd | Uranquinty Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Open Cycle Gas turbines (OCGT) | 3 | 166 | N | URANQ13 | 166 | 166 | 34
Origin Energy Uranquinty Power Pty Ltd | Uranquinty Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Natural Gas | Combustion | Open Cycle Gas turbines (OCGT) | 4 | 166 | N | URANQ14 | 166 | 166 | 34
Pacific Hydro Investments Pty Ltd | The Drop Hydro Unit 1 | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Run of River | 1 | 2.5 | N | THEDROP1 | 3 | 3 | 0
Redbank Project Pty Limited | Redbank Power Station | NSW1 | Generator | Market | Scheduled | Fossil | Coal Tailings | Combustion | Steam Sub-Critical | 1 | 150 | N | REDBANK1 | 150 | 151 | 5
SANTOS NSW (NARRABRI POWER) PTY LTD | Wilga Park A Power Station | NSW1 | Generator | Market | Non-Scheduled | Fossil | Coal Seam Methane | Combustion | Spark Ignition Reciprocating Engine | 6 | 1.67 (average) | N | WILGAPK | 10 | 10
SANTOS NSW (NARRABRI POWER) PTY LTD | Wilga Park B Power Station | NSW1 | Generator | Market | Non-Scheduled | Fossil | Coal Seam Methane | Combustion | Spark Ignition Reciprocating Engine | 2 | 3 | N | WILGB01 | 6 | 6
Snowy Hydro Limited | Blowering Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 70 | N | BLOWERNG | 70 | 80 | 10
Snowy Hydro Limited | Guthega Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 30 | Y | GUTHEGA | 60 | 80 | 20
Snowy Hydro Limited | Guthega Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 2 | 30 | Y | GUTHEGA | - | -
Snowy Hydro Limited | Jindabyne Small Hydro Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 1.1 | N | JNDABNE1 | 1.1 | 1
Snowy Hydro Limited | Jounama Small Hydro Power Station | NSW1 | Generator | Market | Non-Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1 | 14 | N | JOUNAMA1 | 14 | 14
Snowy Hydro Limited | Tumut 3 Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1-6 | 250 | Y | TUMUT3 | 1500 | 1800 | 600
Snowy Hydro Limited | Tumut 1 Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 1-4 | 82 | Y | UPPTUMUT | 616 | 665 | 320
Snowy Hydro Limited | Tumut 2 Power Station | NSW1 | Generator | Market | Scheduled | Hydro | Water | Renewable | Hydro - Gravity | 5-8 | 72 | Y | UPPTUMUT | - | -
Woodlawn Wind Pty Ltd | Woodlawn Wind Farm | NSW1 | Generator | Market | Semi-Scheduled | Wind | Wind | Renewable | Wind - Onshore | 1-23 | 2.1 | N | WOODLWN1 | 48 | 48 | 13